## 1 P&G (hidden)
BILL NO 1 - PRELIMINARY AND GENERAL
ALFONZO ARRIES PRIMARY SCHOOL, GQEBERHA |  | ENQUIRY NO |  | Tender BOQ - Electrical
Item | Description | Detail Reference | Unit | Fixed Charge | Time Related | Install Rate | Total Price (R)
Allow for the costs which the contractor may incur in terms of any or all of the description in these documents and drawings which are not specifically covered in the bill of quantities. Submit full details.
1.1 | Fixed Charge Items
1.1.1 | Formal contract |  | sum
1.1.2 | Sureties |  | sum
1.1.3 | Checking of existing services and relocation of such services as indicated by the Electrical Engineer |  | sum
1.1.4 | Insurance of works etc. and damage to persons and property |  | sum
1.1.5 | Third party insurance |  | sum
1.1.6 | Workmen's compensation |  | sum
1.1.7 | Initial supply of plant, material and labour and services required by contractor |  | sum
1.1.8 | Contractor's camp site / store yard |  | sum
1.1.9 | Allow for the following additional items which the tenderer requires to be priced separately |  | sum
1.2 | Time Related Items
1.2.1 | Contractor's superintendence |  | sum
1.2.2 | Setting out |  | sum
1.2.3 | Watching and lighting |  | sum
1.2.4 | Care of works, damage to persons and property |  | sum
1.2.5 | Attendance on work done by subcontractor and nominated subcontractors |  | sum
1.2.6 | Facilities for other contractors |  | sum
1.2.7 | Provision of plant, material and labour |  | sum
1.2.8 | Clearance of site during contract and on completion |  | sum
1.2.9 | Allow for the following additional items which the tenderer requires to be priced separately |  | sum
| TOTAL : Carried forward to summary | [5 empty] | 0

## 2 CABLES-WIRES AND TUBING
BILL NO 2 - CABLES
ALFONZO ARRIES PRIMARY SCHOOL, GQEBERHA |  |  | Tender BOQ - Electrical
Item | Description | Unit | Tender Quantity | RATE | Install Rate | Total Price (R)
2.1 | 70mm² Cu 4-Core Cable (Main Incomer) | m |  |  |  | 0
0
2.2 | 3-Core Outdoor Termination Kit for 70mm² Cu Cable | No. |  |  |  | 0
0
2.3 | 50mm² Cu 4-Core Cable (Feeder to DB A) | m |  |  |  | 0
0
2.4 | 3-Core Outdoor Termination Kit for 50mm² Cu Cable | No. |  |  |  | 0
0
2.5 | 25mm² Cu 4-Core Cable (Feeders to Kiosk 1 & 2) | m |  |  |  | 0
0
2.6 | 3-Core Outdoor Termination Kit for 25mm² Cu Cable | No. |  |  |  | 0
0
2.7 | 16mm² Cu 4-Core Cable (Feeder to DB E) | m |  |  |  | 0
0
2.8 | 3-Core Outdoor Termination Kit for 16mm² Cu Cable | No. |  |  |  | 0
0
2.9 | 10mm² Airdac Cable (Individual DB feeds) | m |  |  |  | 0
0
2.10 | Single Phase Termination Kit for 10mm² Airdac Cable | No. |  |  |  | 0
0
2.11 | Trenching in Normal Soil Conditions (600mm deep by 500mm Wide) including backfill | m |  |  |  | 0
0
2.12 | Trenching in concrete and reinstatement | Cu m |  |  |  | 0
2.13 | Concrete Plinths for Kiosks | Cu m |  |  |  | 0
2.14 | Concrete Saw Cuts (300m deep x 100mm Wide) and making good of concrete surface after works complete to same of better condition | m |  |  |  | 0
2.15 | 110mm Ribbed PVC Sleeves incl Bends | m |  |  |  | 0
2.16 | 50mm Ribbed PVC incl Bends | m |  |  |  | 0
2.17 | 25mm Galvanised Conduit | m |  |  |  | 0
2.18 | 25mm PVC Conduit | m |  |  |  | 0
2.19 | 40x40mm Steel Tubes | m |  |  |  | 0
2.20 | 4mm GPW wire | m |  |  |  | 0
2.21 | 4mm Round Surfix 2Core + Earth | m |  |  |  | 0
2.22 | 2.5mm Round Surfix 2Core + Earth | m |  |  |  | 0
2.23 | Plain Galvainsed Wire 2.5mm for draw wire | m |  |  |  | 0
2.24 | 1.5mm GWP wire Allowance | m |  |  |  | 0
2.25 | 2.5mm GWP wire Allowance | m |  |  |  | 0
2.21 | 2.5mm Round Surfix 2Core + Earth Allowance | m |  |  |  | 0
2.22 | 18W LED Round Bulkhead vandal proof dicast base, IP65 and IK08 with 110lumens/watt Provisional | No |  |  |  | 0
2.23 | Surface Mounted 1200mm LED luminares with 2 tubes 20W High Output LED Tubes Provisional | No |  |  |  | 0
2.24 | Switch Socket Outlet with SANS164-1 and SANS162-2 combination plate and cover complete | No |  |  |  | 0
| TOTAL : Carried forward to summary |  |  |  |  | 0

## 3 DB KIOSKS
BILL NO 3 - DISTRIBUTIONS KIOSKS
ALFONZO ARRIES PRIMARY SCHOOL, GQEBERHA |  |  | Tender BOQ - Electrical
Item | Description | Unit | Tender Quantity | RATE | Install Rate | Total Price (R)
3.1 | School New Distribution Kiosk Enclosure & Busbars | No. | 1 |  |  | 0
0
3.2 | Weatherproof 80A 3-Phase Kiosk Enclosures (Kiosk 1 & 2) | No. | 2 |  |  | 0
0
3.3 | New Sub-Distribution Boards (DB 1 to DB 9) | No. | 9 |  |  | 0
0
3.4 | Integration / Termination into existing DBs (DB A to DB N) | No. | 9 |  |  | 0
0
3.5 | 150A 3-Pole Curve 1 Circuit Breaker | No. | 1 |  |  | 0
0
3.6 | 150A 4-Pole Isolator Switch | No. | 1 |  |  | 0
0
3.7 | 80A 3-Pole Feeder Circuit Breakers | No. | 3 |  |  | 0
0
3.8 | 63A 3-Pole Feeder Circuit Breaker | No. | 2 |  |  | 0
0
3.9 | 40A Single-Pole Outgoing Circuit Breakers | No. | 20 |  |  | 0
0
3.10 | Certificate of Compliance COC Kiosks | No | 4 |  |  | 0
3.11 | Certificate of Compliance Existing Sub Distribution Boards | No | 19 |  |  | 0
3.12 | Inspection and Testing of Complete existing Installation providing conditional assesmnt report with insulation resistance testing for existing wiring | Sum | 1 |  |  | 0
3.13 | 30A 230V Isolator in IP65 weather proof Encloser for Aircon Supply | No | 14 |  |  | 0
3.14 | 30A 1Pole - D-Curve Circuit Breaker for Aircon Supply | No | 14 |  |  | 0
3.15 | 25A 1Pole - D-Curve Circuit Breaker Provisional Allowance | No | 6 |  |  | 0
| TOTAL : Carried forward to summary |  |  |  |  | 0

## SUMMARY
FINAL SUMMARY
ALFONZO ARRIES PRIMARY SCHOOL, GQEBERHA |  |  | Tender BOQ - Electrical
Item | Description | Unit | Tender Quantity | Supply Rate | Install Rate | Total Price (R)
1 | BILL NO 1 - PRELIMINARIES AND GENERAL |  |  |  |  | 0
2 | BILL NO 2 - CABLES - WIRE AND TUBING |  |  |  |  | 0
3 | BILL NO 3 - DB KIOSKS |  |  |  |  | 0
4 | EARTHING AND BONDING OF COMPLETE SCHOOL | Sum |  |  |  | 0
Heights at 3.5m (Block 1 - 16x9m) - (Block 2 -16.5 x 9m) - (Block 3 - 34.5x7m) - (Block 4 Ablutions x 2 (13.5 x 3.2m) - (Block 5 - 38X9m) - (Block 6 - 16.5 x 9m) - (Block 7 - 33X9m) - (Block 8 - 33 x 9m) - (Block 9 - 16.5 X 9m) - (Block 10 - 33 x 9m) -( Block 11 - 25 x 9m) - (Block 12 - 38 x 9m) - (Block 13 Ablution x 2 (13.5 x 3.2) - (Block 15 - 16 x 7m) - (Block 16 - 8 x 7m) - (Block 17 - 16 x 9m) - (Block 18 - 8 x 7m) -(Block 19 2 x Steel Containers - 2.5 x 12m) - (Block 20 New Prefabs - 34 x 9m) - (Block 21 New Prefab - 16.5 x 9)
5 | Isolate , make safe, Remove and responsibly dispose with certificate of disposal of electrical equipment for blocks 22, 23 and 28 that is to be removed. | Sum |  |  |  | 0
6 | Allowance for Security Upgrade CCTV camera and Presence Detection Beams on Fence Perimeter | PS |  |  |  | 250000
6.1 | Profit % for main contractor | % |  |  |  | 0
TOTAL OFFER EXCLUDING VAT
VAT @ 15% OF TOTAL OFFER
TOTAL OFFER INCLUSIVE OF VAT