## 1.Ps&Gs (hidden)
ALFONSO ARRIES PHASE 01 - PREFAB
Item | Description | Unit | Quantity | Tariff | Amount
BILL NO 1 : PRELIMINARY AND GENERAL
1 | PRELIMINARY AND GENERAL ITEMS
1.1 | Contractor's Site Management Staff | Sum | 1
1.2 | Site Establishment | Sum | 1
1.3 | Technical Submissions and Shop Drawings | Sum | 1
1.4 | Operating and Maintenance manuals, 4 Copies, including an electronic copy. | No | 3
1.5 | Training of Clients Staff | Days | 1
1.6 | As-built Drawings | Sum | 1
1.7 | Maintenance and Guarantee
1.8 | The Contractor shall make provision for 1 x Full years Maintenance and Guarantee of the entire installation. 11 x Standard Maintenance visits and 1 x Major service is required throughout the 12 months. | Sum | 1
1.9 | Testing and Commissioning including issuing of CoCs | Sum | 1
1.10 | SCAFFOLDING Allow for the provision, erection, use, dismantling and transportation of scaffolding in accordance with the requirements of the Occupational Health and Safety Act (Act 85 of 1993). | Sum | 1
1.11 | ERECTION EQUIPMENT Allow for any additional erection equipment required for the installation of the system to all portions of the building as indicated on the tender drawings. | Sum | 1
Occupational Health and Safety
1.12 | Cost of health and safety measures required in terms of the Construction Regulations (2003) of the Occupational Health and Safety act | Sum | 1
| Removal of Site Establishment | Sum | 1
TOTAL CARRIED TO SUMMARY

## 2.HVAC
HEATING, VENTILATION AND AIR-CONDITIONING OF ALFONSO ARRIES PHASE 01 - PREFAB
Item | Description | Unit | QTY | Tariff | Amount
BILL NO 2: HEATING, VENTILATION AND AIR-CONDITIONING
1.1 | SPLIT UNITS (OR EQUAL AND APPROVED)
Heat Pump Units
1.1.1 | Supply, Delivery, Installation, Testing and Commissioning of MID WALL SPLIT UNIT - 3.51kW cooling & 3.65kW heating, pre-charged with refrigerant - R410 | No. | 6
1.1.2 | Supply, Delivery, Installation, Testing and Commissioning of MID WALL SPLIT UNIT - 5,27kW cooling & 5,3kW heating, pre-charged with refrigerant - R410 | No. | 8
1.2 | REFRIGERATION CLASS COPPER PIPING INCLUDING RUNNING JOINTS, FITTING, BENDING, PIPECLAMPS, INSULATION AND CONNECTIONS.(PIPING SHALL BE INSTALLED ON CABLE TRAYS)
1.2.1 | Dia 6.4 mm | m | 15
1.2.2 | Dia 9.5 mm | m | 15
1.2.3 | Dia 6.4 mm | m | 15
1.2.4 | Dia 12,7 mm | m | 15
Condensate Drainage
1.2.5 | 25mm PVC drain piping including running joints, fittings, clamps and support and fixing to roof trusses & trays | m | 30
TOTAL AMOUNT FOR SPLIT TYPE AIR CONDITIONING

## SUMMARY
SUBJECT: BILL OF QUANTITIES
SUMMARY OF TENDER BILLS
ITEM | BILL DESCRIPTION | AMOUNT
1 | BILL NO 1 : PRELIM AND GENERAL
2 | BILL NO 2 : HEATING, VENTILATION AND AIR CONDITIONING
SUB-TOTAL 1
VAT-15%
TOTAL AMOUNT